SECTION 03 1119

INSULATING CONCRETE FORMING

#### PART 1 	GENERAL

  - SUMMARY

- Comply with the requirements for Division 1.

- Supply & installation of insulated concrete forms, installation of reinforcing steel and placement of concrete within formwork.

C.	Adequate bracing and falsework shall be provided by the Installing Contractor to comply with all applicable Codes.

  - SCOPE OF WORK

- Provide insulating concrete form product which has been manufactured and installed to withstand concrete placement loads without defects, damage, or failure and such that the cast-in-place concrete wall is designed according to ACI 318 “Building Code Requirements for Reinforced Concrete.” OR CAN/CSA A23.3 Design of Concrete Structures.

- ICF installer to furnish all labor, materials, tools, and equipment to perform the installation of insulated concrete form wall assembly as per the construction documents and specification.

- Furnish all labor to include placement of reinforcing steel within forms, placement of concrete into forms, and final cleanup.

1.03	PRODUCTS SUPPLIED BUT NOT SPECIFIED OR INSTALLED UNDER THIS SECTION

- EPS-compatible modified bituminous sheet waterproofing membrane.

- EPS compatible parge coat.

1.04	PRODUCTS INSTALLED BUT NOT SPECIFIED OR SUPPLIED UNDER THIS SECTION

A.	Sleeves

B.	Inserts

C.	Anchors

D.	Bolts

- Reinforcing Steel

- Window & Door Opening Bucks

- Concrete

1.05	ADMINISTRATIVE REQUIREMENTS

- Preinstallation meeting: Conduct a preinstallation meeting one week prior to the start of the work of this section; require attendance by all affected installers.

1.06	RELATED SECTIONS

A.	Section 03 20 00 	Concrete Reinforcement

B.	Section 03 30 00 	Cast-In-Place Concrete

C.	Section 03 40 00 	Precast Concrete

D.	Division 04 00 00 	Masonry

E.	Division 05 00 0	0 	Metals

F.	Division 06 00 00 	Wood & Plastics

G.	Section 07 13 00	Modified Bituminous Sheet Waterproofing

H.	Section 07 24 00	Exterior Insulation Finishing Systems (EIFS)

I.	Section 07 27 26	Fluid-Applied Membrane Air Barriers, Vapor Permeable

J.	Section 07 46 00	Siding

K.	Division	08 00 00 	Doors & Windows

L.	Section 09 22 00	Portland Cement Plaster (Stucco) & Gypsum Board

M.	Section 09 70 00	Wall Finishes/Acoustical Treatments

N.	Section 09 96 00	Textured Acrylic Finishes (TAFS)

1.07	 ALTERNATES

A.	Materials shall be only as specified in Paragraphs 1.02 & 2.02 as per Manufacturer specified in Paragraph 2.01. No alternate materials shall be accepted for this Section unless pre-approved by the architect, ten (10) days prior to bid date. The cost of any changes in reinforcing details and/or architectural details that are necessitated by the selection of an alternate ICF system with varying dimensions (other than basis of design) shall be the sole responsibility of the contractor.

1.08      REFERENCES

A.	ACI 318	Building Code Requirements for Reinforced Concrete

B.	ACI 332	Guide to Residential Cast-in-Place Concrete Construction

C.	ASTM C236	Steady-State Thermal Performance of Building Assemblies

D.	ASTM C473	Physical Testing of Gypsum Board Products & Gypsum Lath

E.	ASTM D1761	Mechanical Fasteners in Wood

F.	ASTM E84	Surface Burning Characteristics of Building Materials

G.	UBC 26-3	Uniform Building Code Standard Room Fire Test

H.	ASTM 2634	Flat Wall Insulating Concrete Form (ICF) Systems

  - 1.09	DEFINITIONS

- EPS- Acronym for “Expanded Polystyrene” when referencing the insulating foam component of the insulated concrete form.

- EPU – Acronym for “Expanded Polyurethane” when referencing the insulating foam component of the insulated concrete form

- ICF- Acronym for “Insulated Concrete Form”

.

- ICF Alignment System- a form alignment & scaffold system designed exclusively for use with insulated concrete forms.

- Trained Installer- An installation contractor, who has received instructional training in the installation of insulated concrete forms.

- Technical Advisor- A technical representative, usually a staff member of a ICF Manufacturer or Distribution Firm, who has received instructional training in the installation of insulating forms (as administered by manufacture) and is in the capacity of supervising or overseeing an installation crew on site.

F.	Window or Door Opening Buck- a pre-manufactured or site constructed frame assembly consisting of engineered wood, plastic or metal material (or combination thereof) used to frame a rough opening within the forming system that will retain concrete around the opening. The frame can also provide for subsequent anchorage of doors and windows within the wall assembly.

1.10	SYSTEM DESCRIPTION / PERFORMANCE REQUIREMENTS

- Insulated concrete wall forming system shall consist of 2 flame-resistant panels of expanded polystyrene (EPS) or expanded polyurethane (EPU) connected by either high-density polypropylene hinged pin foldable webs or EPS embedded polystyrene fastening strips interconnected with slide in format - high density polypropylene web connectors.

- Insulating concrete form system shall provide a minimum insulation panel thickness of 2 5/8-inches (66.7mm) throughout ALL forms and panels forming the form system product inventory (with exception of variance required for brick ledge, tapered top forms and wall areas requiring a one-sided ICF with exposed concrete finish on one face of wall). EPS foam panels with concrete to provide min. insulation level of R 22.4 across full line of form unit cavity widths. Straight and specialty blocks (90-degree corner, 45-degree corner, etc.) all possess the same design features and characteristics.  EPU forms shall provide a minimum of R-30 across the full line of form unit cavity widths.

- All web fastening strips to run full height of form and be fitted top and bottom with reversible fitting, “triple-tooth” interlocking mechanisms to enable positive vertical interlocking of forms with each other. Wall system webs to provide min. 1 ½” (38mm) wide fastening strips @ 8” (200mm) o/c minimum 1/2” (13mm) below wall face for full wall height to facilitate finish fastening of both interior and exterior finishes.

- Full height fastening strips also to be positioned within corner forms to provide capability of connecting finishes full height within 4” (100mm) or less of all corner conditions.

- Shipping and storing costs will be considered when selecting forms. The jobsite shall be kept clean and in an orderly fashion.

- EPS and EPU foam panels shall be molded with single socket 1” (25mm) wide reversible tooth interlocks positioned in pairs along top of all panels.

- Plastic tie inserts are designed to allow for additional reinforcement placement positions to comply with structural design. The rebar chair supports are two deep with a loose fit for contact splice connections.

- Wall system to provide min. 4”, 6”, 8”, 10” or 12” (100, 160, 200,250 or 300 mm) wall sections (as required) at all locations throughout wall area.

- Wall system to provide accurate positioning of steel within form cavity to conform to

reinforcing requirements of ACI 318.

- EPS foam to provide maximum vapor permeation of 3.5 Perm-in. (200 ng/Pa.s.m2)/25mm

- Finished wall assembly to provide min. rating of STC sound attenuation performance as follows:

- 4” (100mm) core form STC 45 (when installed without finish)

- 6” core and above - STC 50

  - 1.11	SUBMITTALS

- Submit relevant laboratory tests or data that validate product compliance with performance criteria specified prior to commencement of work under this Section.

B.	Submit copy of manufacturer’s product installation manual

- Submit copy of valid product ICC evaluation report to the applicable building code for the jurisdiction of the project site.

- Submit 3rd party agency certification stating that product supplied meets the requirements of ASTM E2634.

- Submit copy of current Underwriters Laboratories Inc (UL) listing for proposed ICF wall assembly Ref: BXUV.U930 or comparable fire test document.

- Submit copy of ICF installer qualification per Section 3.01 prior to commencement of work under this Section

- Submit copy of Technical Advisor qualification per Section 1.11 prior to commencement of work under this Section.

- ICF manufactured product has been evaluated for current compliance with the applicable building code evaluation service. Documentation of approval by Intertek, City of Los Angeles, State of Florida, State of Wisconsin where applicable.

- Submit documentation of fastener withdrawal from plastic tie insert flange strip.

- Submit documentation of fire rating design listings where applicable.

- Submit steel reinforcement shop drawings:  Shop and placement plan, elevation drawings that detail fabrication, bending, and placement.  Include bar sizes, lengths, material, grade, bar schedules, stirrup spacing, bent bar diagrams, bar arrangement, splices and laps, mechanical connections, tie spacing, hoop spacing, and supports for concrete reinforcement. Shop and placement drawings for all reinforcing steel and related accessories shall be submitted to the architect/engineer for review.  Prior to submitting drawings for review, the Contractor shall thoroughly check all drawings for completeness and accuracy.  Any additional cost that may arise due to errors on the shop and placement drawings is the sole responsibility of the Contractor.

- General Contractor to coordinate and submit dimensioned shop drawings (Plans, elevations and sections) to show all ICF walls, openings, penetrations and structural embeds from associated trades. All associated trades are required to provide information to verify locations of openings, penetrations or structural embeds, etc. which may affect the execution of their scope of work.

  - 1.12	QUALITY ASSURANCE

- Contractor shall engage the services of a Trained ICF Installer or Technical Associate for the duration of the work under this Section who has been trained in procedures pertaining to the correct installation of the specified form system (Trained installer or Technical Associate may already be the designated ICF Installing Contractor if providing credentials as such).

- Trained ICF Installer /Technical Associate shall furnish proof of training documentation to Contractor prior to commencement of work under this Section.

- The ICF manufacturer to assign a Technical Advisor, usually a staff member who has received instructional training in the installation of the ICF system forms (as administered by the ICF manufacturer used for the project) and is in the capacity of providing periodic technical oversight of the installation on site for at least 3 projects similar to the proposed project in size, scope, and complexity.

- The completed ICF surface shall be plane and plumb, with no deviation greater than 1/4 inch in any planar direction when tested with a 10-foot straightedge or shall not exceed the concrete forming tolerances specified in ACI 117, whichever is more applicable. For wall sections with one sided ICF or one side of exposed concrete finish, provide Class B finish per ACI 347. Note: For wall sections requiring concrete finish surface, no plastic webs, furring’s or metal ties should be visible at finish surface.

- Variation of Linear Building Line:  For position shown in plan and related portion of ICF walls, and partitions, do not exceed 1/2 inch in 20 feet (12 mm in 6 m), nor 3/4 inch in 40 feet (19 mm in 12 m) or more.

- Variation in Cross-Sectional Dimensions:  For thickness of ICF walls, from dimensions shown, do not exceed minus 1/4 inch (6 mm) nor plus 1/4 inch (6 mm).

- Site Mock-up: If required, construct sample wall mock-up panel to include full wall system and details, located where directed by Consultant. Panel may form part of finished work if approved by Consultant.

- Trained Installer/Technical Advisor to meet with Contractor prior to material delivery on site to coordinate provision of access, storage area, and protection of ICF product and spatial requirements for form alignment placement steel storage & forming.

- Submit a copy of the ICF concrete mix design.

1.13	DELIVERY STORAGE & HANDLING

A.	Deliver products in original factory packaging, bearing identification of product, manufacturer and batch/lot number. Installer to keep the labels for traceability of product for the duration of the contract.

B.	Store insulating concrete form system units off ground in ventilated and protected manner to prevent damage and deterioration from moisture.

C.	Ensure that UV protection is provided for material, should on-site storage

extend beyond 30 days.

  - 1.14	PROJECT CONDITIONS

- Use appropriate measures for protection and supplementary heating when required to ensure proper curing conditions in accordance with manufacturer’s recommendations if installation is carried out during periods of weather where temperatures are below minimum specified by governing Building Code for concrete and masonry.

  - 1.15	COORDINATION

- Ensure those materials listed under Sub-Section 1.03 & 1.04 are provided to Contract Installer prior to commencement of work under this Section.

- Sequence installation of insulating concrete forms with related work specified in other sections to ensure that wall assemblies, including window and door accessories, trim, service penetrations, transition changes and mechanical services are protected against damage from effects of weather, corrosion, and adjacent construction activity.

  - 1.16	WARRANTY

A.	Contact the Manufacturer for supply of written copy of specific warranties of the product.

## PART 2	 PRODUCTS

2.01	MANUFACTURER

A 	Subject to compliance with requirements in this section and the basis of design, manufacturers offering products that may be incorporated in the Work are limited to the following:

Basis of Design:

  - Fox Blocks

6110 Abbott Drive, Omaha, NE  68110

Phone: (877) 369-2562

Web Page: www.foxblocks.com

  - NUDURA ICF a Tremco CPG Inc. Brand

3735 Green Road Beachwood, OH 44122

Lee Dzierzanowski

ldzierzanowski@nudura.com

801-588-9168

Web Page: www.nudura.com

  - R-Block

1982 N. 2800 W.

Provo, UT 84601

Dan Jensen

danielmaxjensen@thermagreen.com

801-664-5907

Web Page: www.rblocksusa.com

  - Alternates as previously pre-approved by the architect per Section 1.07

## MATERIALS

A.	Insulated Concrete Form units to be supplied through an authorized manufacturer.

B.	Substitutes and alternates per Section 1.07 above.

2.03	INSULATING CONCRETE FORMS

    - Performance Requirements:

      - Thermal Insulance, R-value, of Assembled System: Calculated thermal insulance when tested in accordance with ASTM C177.

        - Wall System: 22 deg F hr sq ft, minimum.

      - Sound Transmission Class, Assembled Wall Units: 50, minimum; based on assembly composed of two rigid foam boards separated by an 8 inch concrete core with a finish per the wall types for the exterior and 5/8 inch thick drywall interior.

    - Insulating Concrete Form Units for Walls: Rigid, expanded polystyrene boards; boards connected horizontally with injection-molded polypropylene webs and vertically by means of interlocking edges.

      - Board Thickness: 2-5/8 inches.

      - Web Spacing: 8 inches on center, vertically.

      - Web Configuration: 1/2 inch wide by full height of unit; integral supports for horizontal reinforcing steel; continuous end plates recessed 1/2 inch below surface of insulation on each face of unit to allow attachment of interior and exterior finishes without damage to insulation board.

      - Concrete Core Thickness: 8 inches (203.2 mm), 10 inches (254 mm), and as indicated on drawings.

      - Unit Types:

        - Reversible straight form.

        - Reversible 90 degree corner.

        - Reversible 45 degree corner.

        - End cap.

        - " T " units.

        - Height-adjustable.

2.04	COMPONENTS

- Expanded Polystyrene (EPS) and Expanded Polyurethane (EPU) Insulation Boards: Comply with the minimum requirements of ASTM C578, Type II and the specified characteristics below.

- Thermal Resistance: R-value of 4.0 deg F hr sq ft/Btu, minimum, when tested at 1 inch thickness in accordance with ASTM C177.

- Water Vapor Permeance: 3.5 perms, maximum, when tested at 1 inch thickness in accordance with ASTM E96/E96M.

- Tolerances:

  - Edge and Face: Trueness: 0.03 inch/ft, maximum.

  - Length and Width Squareness: 0.06 inch/ft, maximum.

- Injection Molded Polypropylene Ties and Profiles:

- Tensile Strength: 253.3 pounds when tested in accordance with ASTM D638.

- Ignition Temperature: 400 degrees F.

- Burn Rate: 0.80 inch per minute when tested in accordance with ASTM D635.

- Smoke Density: 25.9 percent maximum when tested in accordance with ASTM D2843.

- Fastener Resistance; ASTM D1761:

  - Type W Coarse Thread Drywall Screw Withdrawal Load: 38.42 pounds.

  - Type W Coarse Thread Drywall Lateral Resistance Load: 50.56 pounds.

- Accessories: Provide the manufacturer’s standard items listed below:

  - Door and window lock outs of wood material.

  - Sleeves for wall penetrations.

  - Masonry anchors.

  - Cover board: Provide Dens Prime (Minimum ¼”) cover board over ICF as prep for single ply membrane flashing at parapet and ICF wall flashing locations.

2.05	CONCRETE

- Concrete supplied under Section 03 30 00 shall be of strength as specified by the design engineer (measured at 28 days). Recommended maximum aggregate size to be 1/2” (13mm) aggregate for 4” & 6” (100 & 160mm) cavity forms and, 3/4” (19mm) aggregate for the 8” (200 mm) cavity forms and higher.

- Recommended concrete slump is 6” +/- 1” (150mm +/- 25mm) (subject to design revision to suit application).

- Deposit concrete in horizontal layers of depth to not exceed formwork design pressures. Discharge (drop) height for concrete placement, shall not exceed 16 feet (4.8 m) with total placement height not exceeding 16 feet (4.8 m) per placement or less as may be limited by the allowable formwork design pressures. If concrete cannot be placed in a continuous pour, provide construction joints as approved by the Designer of Record. Consolidate placed concrete with mechanical vibrating equipment conforming to ACI 301.

2.04       REINFORCING STEEL

- Reinforcing steel shall be as specified in Section 03 20 00 and shall be supplied under that Section for placement by the Trained Installer.

- Lintels to be installed as specified or detailed by the structural engineer in conjunction with the insulating concrete form manufacturer’s installation manual guidelines or per IRC/IBC or the NBC of Canada model codes. Size and placement of top and bottom reinforcing steel, stirrups for shear reinforcement and corner reinforcing to be verified with engineering design prior to concrete placement.

- Reinforcing steel stirrup to be placed in accordance with structural engineer’s specifications and details for the given project installation parameters.

2.05	WALL ALIGNMENT SYSTEM

Form Alignment System:

The Trained Installer shall furnish and utilize the Wall Access and Form Alignment System (as supplied by the Manufacturer or approved equivalent) to facilitate construction of the wall assembly, and to provide adjustment for ensuring plumbness and straightness of the wall system during construction, just prior to concrete placement and immediately after concrete placement while form system is still adjustable to final finished position.

Form Alignment System shall be OSHA compliant. Technical Advisor shall supply engineering documentation pertaining to the “base” Form Alignment System components to verify compliance upon request.

For wall heights above 12 feet (3.6 m), the contractor shall provide scaffold engineering for Form Alignment System support or shall ensure this engineering is included by the engineer of record for support of the form system during construction.

2.06	WATERPROOFING

A.	Where specified, waterproofing shall be self-adhesive modified bituminous sheet waterproofing membrane as supplied by concrete form system manufacturer specific to the form system specified under this section. Material to be supplied under this Section & installed as specified under Section 07 13 52 (Modified Bituminous Sheet Waterproofing). Liquid Applied Membranes may be used provided the manufacturer can provide warranty when used over ICF system.

B.	Waterproofing material shall be EPS foam compatible.

2.07	PARGING

A.	Exposed exterior wall surface from waterproofing to grade line shall be covered with durable, weather-resistant covering in accordance with code requirements or specific research report. Stucco type material or equivalent supplied under this section and installed as specified under Section 08 22 00 (Portland Cement Plaster).

.	B.	Alternate EIFS supplied and installed under Section 07 24 00 (Exterior Finishing Systems).

PART 3   EXECUTION

  - INSTALLERS

A. Installer List:

- Per Section 1.05 Submittals – Bid Submittal requirements, the installing contractor for this section shall be:

    - An experienced ICF Contractor (trained installer) with minimum 3 years of experience in supervising at least 3 commercial ICF projects with gross wall areas over 40,000 ft2 (3,761 m2) or;

    - A qualified masonry or traditional concrete forming contractor with minimum 5 years of experience in commercial construction applications. Contractor shall engage the services of a Trained Installer or Technical Associate for the duration of the work under this Section.

- The installing contractor shall have demonstrated experience with supervising at least 3 commercial construction projects with gross wall areas of 40,000 ft2 (3,761 m2) or greater. (Submit project name(s)/ location(s)).

- Prior to commencement of ICF installation and associated work, conduct a meeting at project site with the General Contractor, ICF Installer, ICF Technical Advisor, and trades responsible for installing any associated works interfacing directly with the ICF wall assembly to ensure coordination across all trades.

  - EXAMINATION

A.	Inspect all areas included in Scope of Work to establish extent of work and verify site access conditions.

  - SITE VERIFICATION OF CONDITIONS

- Verify that site conditions are as set out in Part 1- General Conditions.

- Examine footings installed under Section 03 30 00 are within +/-¼” (6mm) of level and that steps footing increments are 18” (457 mm) in height. Where partial or half course is intended for starting course elevation, ensure step footing increment is equal to cut form unit less ½” (13mm).

- If specified, ensure reinforcing steel dowels are in place at specified centers along footing lengths.

  - PREPARATION

A.	Clean all debris from top of footings prior to commencing work.

  - INSTALLATION

- General contractor and ICF installation company shall develop and implement an Installation Quality Control Plan (QCP) based on the ICF manufacturer's recommended means and methods. The quality control plan (QCP) shall provide an outline for monitoring the Pre-Installation and Post-Installation process to ensure the work is performed in accordance with the drawings and specifications. The quality control plan shall include the pre-pour inspection check list (See Attachment A) to inspect erected formwork, reinforcement placement, door and window opening construction/locations, steel embed placement, and alignment and bracing systems. The quality control plan shall also include the post pour inspection check list (See Attachment B). The ICF installation company shall ensure that the cast-in-place concrete walls are level, plumb, square, and straight with all dimensions conforming to the drawings and within required tolerances.  Notify the designer of record in writing of defective formwork within 7 working days of the date of ICF inspection.  Include the fully initialed and signed pre-pour and post pour checklists as part of the appropriate QC Daily Reports.

- The ICF Installation shall be in accordance with the ICF manufacturer's installation and technical manual or approved means and methods. Provide bracing and alignment system to ensure stability of ICF form unit. Anchor formwork to supporting surfaces to prevent upward or lateral movement of the ICF units during concrete placement. Place sleeves, inserts, anchors, ISF, and embedded items required for adjoining work or for support of adjoining work before concrete placement. Align fastener strips to facilitate interior and exterior wall finishes including control joints required in the gypsum board in accordance with Section 09 29 00 GYPSUM BOARD. Install concrete reinforcement according to the structural drawings at all walls, lintels, beams, and around openings. Install window and door bucks at each location where an opening is required. Install alignment bracing around the entire wall of the structure to ensure the ICF system is straight and plumb before and during concrete placement.

- First Course Placement

- Horizontal Reinforcement Placement

- Successive Course Placement

- Door & Window Opening Construction

- Form Alignment & Scaffolding Installation

- Vertical Reinforcement Placement

- Pre-Concrete Placement Inspection to QCP

- Concrete Placement

- Access & Form Alignment Assembly Removal

  - SERVICE PENETRATIONS

- Service penetrations (e.g.- electrical service conduits, water service pipes, air supply and exhaust ducts etc.) shall be installed at the required locations as indicated by the appropriate trade.

- Service penetrations shall be reinforced as required by the structural engineer.

- Prior to concrete placement, install service penetration sleeves (supplied by others) at designated locations to create voids where services can be passed through at later date.

  - FLUID-APPILED WEATHER/AIR BARRIER MEMBRANE

A.	Where a fluid-applied air/water-resistive barrier (AWRB is to be directly adhered to the ICF substrate, the EPS surface should be prepped per recommendations in section 3.08 below.  Additionally, vertical and horizontal joints 1/8” or greater in the ICF surface should be filled level with surface using a compatible low expansion foam, slivers of EPS and/or joint sealant as recommended by the AWRB manufacturer and compatible with the EPS foam.

- All flashing, sealants and barrier membranes must provide compatibility and adhesion testing with the ICF system in accordance with ASTM D4541. Adhesion testing results must achieve a minimum of 16 PSI pull-off resistance. Additional surface and joint preparation may be required in accordance with manufacturer’s or supplier’s recommendations.

  - CLEANUP

A.	Clean up and properly dispose of all debris remaining on job site related to the installation of the insulated concrete forms.

  - PROTECTION

A.	Provide temporary coverage of installation to reduce exposure to Ultra Violet light should final finish application be delayed longer than 60 days.

# ATTACHMENT A

ICF Pre Pour Checklist

The following checklist shall be initialed and signed/dated, in order, by the following:

ICF Installation Company (ICF Sub),

Contractor's Quality Control System Manager (CQCSM),

Special Inspector as required by code

Concrete pours shall not begin until each item is initialed, AND each person has signed this checklist.

Checklist Item:	         ICF      CQC     Sp

Sub      SM       Insp

- Have ICF walls been installed according to drawing dimensions and verified field survey marks?		_____  _____  _____

- Has ICF alignment system and shoring been installed per accepted plan and manufactures recommendations?		_____  _____  _____

- Has wall rebar been installed per construction drawings and specifications in all locations?		_____  _____  _____

- Has lintel reinforcement been installed per construction drawings and specifications?		_____  _____  _____

- Are all openings installed and in correct location?		_____  _____  _____

- Are all rough openings level, plumb and of correct dimensions per construction documents?		_____  _____  _____

- Has proper anchorage for buck material been used?		_____  _____  _____

- Have construction joint forms and reinforcement been installed per agreed details?		_____  _____  _____

- Have all service penetration sleeves been installed?		_____  _____  _____

- Have all T junctions, pilasters or columns been shored or braced adequately?		_____  _____  _____

- Have all beam pockets, steel embeds, or face plates been installed and locations verified?		_____  _____  _____

- Have all string lines for wall line verification been installed around perimeter of building?		_____  _____  _____

- Have walls been straightened?

- Have all corners and openings been verified for level and plumbness		_____ _____  _____

- If applicable, has the Cold/Hot Weather Concreting Plan been accepted and followed?		_____  _____  _____

- If no protection was provided, have measures been taken to remove all snow and ice from the forms?		_____  _____  _____

- Confirm vibrators for internal concrete consolidation are correct size and length and are operational?		_____  _____  _____

- Are there back up materials in case of blowout? (i.e. blow-out kits and screw gun available)		_____ _____  _____

- Ensure concrete ordered and delivered to site conforms to pre-approved mix design as specified.		_____  _____  _____

- Has the quantity of concrete been properly calculated and checked against the build?		_____  _____  _____

- Have concrete deliveries and interval timing for trucks been coordinated with concrete supplier?		_____  _____  _____

- Ensure concrete pump operator reviews site condition prior to day of pour and concrete placement plan.		_____  _____  _____

- Ensure concrete pump discharge line has been configured with proper reducers and flexible placement hose.		_____  _____  _____

- Ensure ICF Subcontractor has appropriate number of personnel onsite to manage concrete placement and has assigned crew members to manage post placement wall alignment and plumb checks.		_____  _____  _____

ICF Installation Company Rep	Date

Project CQCSM	Date

Special Inspector	Date

# ATTACHMENT B

ICF Post Pour Checklist

The following checklist shall be initialed, in order, by the following.

ICF Installation Company (ICF Sub),

Contractor's Quality Control System Manager (CQCSM),

Special Inspector as required by code

Work covering or enclosing the ICF System on either side of the walls shall only occur after each item is initialed AND each person has signed this checklist.

Checklist Item:	         ICF      CQC     Sp

Sub      SM       Insp

- Have all walls been properly consolidated?	         	_____  _____  _____

- Ensure properly consolidated at all beam pockets steel embed or face plates. 		_____  _____  _____

- Ensure properly consolidated at locations of possible rebar congestions, i.e. lintels, pilasters, columns, etc. 		_____  _____  _____

- Check wall areas for possible voids by probe testing to depth gauge at possible rebar congestion locations.		_____  _____  _____

- Have the walls been preliminarily straightened to plumb?		_____  _____  _____

- For final pour, has the top of wall been screeded level? 		_____  _____  _____

- For wall continuing up, is all cold joint reinforcement in place with proper lap splice and top of concrete left rough? 		_____  _____  _____

- Ensure final fine adjustment of all walls been completed using installed string lines tape measure and laser level. 		_____  _____  _____

- Ensure all opening dimensions have been maintained, headers and sills are level and jambs are plumb. 		_____  _____  _____

- Ensure all wall areas are within planer tolerances.

- Confirm all structural embeds, face plates and beam pockets installed correctly, and location/elevation verified by surveyor. 		_____  _____  _____

- Cold weather pouring – has top of wall been protected from freezing i.e. Thermal blanket, etc. 		_____  _____  _____

- Has alignment system been cleaned of all excess concrete? 		_____  _____  _____

- Has all excess concrete been clear from job site area?		_____  _____  _____

ICF Installation Company Rep	Date

Project CQCSM	Date

Special Inspector	Date

-- End of Section