OM-RI-08 0101.02-SUP.docx

KEYING  INTERIOR  DOORS OF MULTIPLE  BUILDINGS

| SECTION USAGE MATRIX |  |  |
| --- | --- | --- |
| C | NS | Seminary and Small Institute Standard Plan (CHURCH EDUCATION SYSTEM) - New Project |
| SM | NA | Standard MEETINGHOUSE and PHASED MEETINGHOUSE Standard Plan - New Project |
| R | SUP | OM/RI (REPLACEMENT & IMPROVEMENT) for Existing Meetinghouse / Seminary and Institute Project |
| CM | NA | Meetinghouse and Phased Meetinghouse Standard Plan with S&I MODULE ADDITION - New Project |
| SI | NA | S&I MODULE Addition to Existing Meetinghouse Building |
| MO | NA | MISSION OFFICE MODULE Addition to Existing Meetinghouse Building |
| UM | NA | URBAN MEETINGHOUSE for Custom Meetinghouse - New or Addition Project |
| FM | NA | Small Maintenance Project specification for FACILITY MANAGER |

| MODIFICATION LOG |  |  |
| --- | --- | --- |
| DATE | SOURCE | DESCRIPTION |
| 07 Jul 17 | Gail Olsen | Specification to include only Existing Buildings. |
| 04 Feb 15 | Gail Olsen | Approved products update for Locksets and Latchset . |

# PROCEDURAL NOTES

## COORDINATION

## DESIGN INFORMATION AND BACKGROUND MEETINGHOUSE: Use this Section to specify the keying of interior doors of several meetinghouse buildings under the same keying system. It may also be used to include a new building into an existing, multi-building interior keying scheme

SECTION  08 0101

KEYING  INTERIOR  DOORS  OF MULTIPLE  BUILDINGS

GENERAL

EDIT REQUIRED:  Edit following Article as necessary to give an accurate, but brief description of work of this Section and accurate listing of related work, especially if scope of work is not shown graphically on Drawings.

SUMMARY

Includes But Not Limited To:

Re-key existing buildings identified in Contract Documents.

Provide, repair, or replace hardware items necessary to prepare buildings for re-keying.

REFERENCES

Definitions:

EDIT REQUIRED:  Include following paragraph for CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.  Classroom Door Hardware changed to Grade 1 Locksets for CES Standalone Buildings and S&I Module add to existing Meetinghouse Building.

Grade 1 Heavy Duty Key-In Lever Cylindrical Lockset:

Performance Features:

Exceeds 1,000,000 ANSI cycles.

Clutching mechanism standard.

Thru-bolt design and heavy-duty spring tension provides longer performance life and prevents lever sag.

ADA-compliant thumbturn.

Mortise case is easily field reversible.

Pre-assembled trims with spring-loaded spindles automatically adjust to door thickness.

Partial security separator prevents spindle manipulation.

Anti-friction throwbolt.

EDIT REQUIRED:  Include following paragraph for ALL Church Buildings except CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.

Grade 2 Standard Duty Key-In Lever Cylindrical Lockset:

Performance Features:

Exceeds 400,000 ANSI cycles.

Single motion egress provides easy emergency exit.

Full 1 inch (25 mm) throwbolt with saw resistant hardened steel roller pin.

Anti-drill design deadbolt. Two (2) ball bearings inserted to prevent drill attacks.

ADA-compliant thumbturn.

SUBMITTALS

Closeout Submittals:

Provide following information for each building in a separate three-ring binder.  Conform to sample documents provided by Owner.  If requested by FM Group, include with binder an electronic copy of the information on a CD.

Masterkey System Diagram for building.

Outline Floor Plan of building including room names, room numbers, and door / lock numbers.  Match information on latest floor plan available.

Schedule showing door / lock number, room number, room name, key designation, required stamp, number of keys provided, and ecclesiastical positions of those to whom keys are to be assigned.

Key Assignment Schedule with columns for date assigned, keying designation, ecclesiastical position, printed name, signature, and date returned or reported lost.

In a separate three-ring binder for the FM Group, include:

Diagram showing GreatGrandMasterkey, GrandMasterkeys, and Masterkeys provided.

Copies of the information provided for each building, separated by dividers.

Electronic copy on a CD of information provided in preceding paragraph.

DELIVERY, STORAGE, AND HANDLING

Standard Key Delivery:

Deliver change keys divided into bundles corresponding to buildings.  Arrange keys in same order as building schedules provided in Closeout Submittal.

Deliver GreatGrandMasterkey, GrandMasterkeys, and Masterkeys to Facility Manager in separate bundle.

PRODUCTS

EDIT REQUIRED:  Delete following TWO Articles if no new hardware required.

MANUFACTURERS

EDIT REQUIRED:  Delete manufacturers who do not have products specified in this Section based on your editing to fit Project requirements.  DO NOT ADD ANY OTHER MANUFACTURERS.

Contact Information:

Best Locks by Stanley, Indianapolis IN www.securitastechnology.com/.

Abus by Home Security, Commercial Security and Safety Lockout, Phoenix, AZ  www.abus.com.

Sargent, New Haven, CT  www.sargentlock.com.

Schlage, Colorado Springs, CO  www.schlage.com.

Yale Commercial Locks, Lenoir City, TN  www.yalecommercial.com.

PERFORMANCE

Design Criteria:

Provide interior keying system that includes GreatGrandmasterkey, Grandmasterkey, Masterkey, and Changekey levels.  Pin locks so pins in masterkeys are two numbers minimum different between masterkeys and associated change keys.

MANUFACTURED UNITS

Latchsets:

EDIT REQUIRED:  Knobs should only be used to match existing hardware, if allowed by local code.  It is preferred that lever operators be used when replacing hardware.

Use the hardware specified below rather than matching existing hardware.  Cylinder cores will be provided in the specified hardware that can provide a unified keying system.

Design Criteria:

Category Four Approved Products.  See Section 01 6200 for definitions of Categories:

EDIT REQUIRED:  Include following paragraph for CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.  Classroom Door Hardware changed to Grade 1 Locksets for CES Standalone Buildings and S&I Module add to existing Meetinghouse Building.

Grade 1 Heavy Duty Key-In Lever Cylindrical Lockset:

ANSI/BHMA A156.13-2022 Grade 1.

Meet UL 10B fire tests.

Meet UL 10C positive pressure fire tests.

ADA Compliant ANSI A117.1-2017 Accessibility Code.

EDIT REQUIRED:  Include following paragraph for ALL Church Buildings except CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.

Grade 2 Standard Duty Key-In Lever Cylindrical Lockset:

ANSI/BHMA A156.12-2022 Grade 2.

Meet UL 10B fire tests.

Meet UL 10C positive pressure fire tests.

ADA Compliant ANSI A117.1-2017 Accessibility Code.

Lever Operated:

EDIT REQUIRED:  Include following paragraph for CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.  Classroom Door Hardware changed to Grade 1 Locksets for CES Standalone Buildings and S&I Module add to existing Meetinghouse Building.

Grade 1 Heavy Duty Key-In Lever Cylindrical Lockset:

Category Four Approved Products.  See Section 01 6200 for definitions of Categories:

9K Series Best Lock by Stanley standard cylinders - (I/C cores may be used when authorized by AEC).

10X Line Series by Sargent.

ND Series by Schlage.

5400LN by Yale.

EDIT REQUIRED:  Include following paragraph for ALL Church Buildings except CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.

Grade 2 Standard Duty Key-In Lever Cylindrical Lockset:

Category Four Approved Products.  See Section 01 6200 for definitions of Categories:

7K Series Best Lock by Stanley standard cylinders - (I/C cores may be used when authorized by AEC).

7 Line Series by Sargent.

AL Series by Schlage.

5300LN by Yale.

Knob Operated:

Category Four Approved Products.  See Section 01 6200 for definitions of Categories:

6 Line Series by Sargent.

A Series by Schlage.

Deadbolts:

Approved Products:  Match manufacturer of new locksets.

Rim Cylinders:

EDIT REQUIRED:  Include following TWO paragraphs to specify cylinders other than the high security cylinders that are used on entries.

Provide cylinders for specialty doors, for interior exit devices, and for other items requiring locking cylinders.

Approved Manufacturers:  Match keyway of new locksets.

Padlocks:

Quality Standard:

Abus 83 / 45 Series with keyway to match locksets.

Equal as approved by Architect before installation.  See Section 01 6200.

EDIT REQUIRED:  Include following Paragraph if hardware to be re-keyed is from different manufacturers or if adding building to an existing keying system.  Provide the keyway designation desired with the name of the manufacturer.  This should normally be the keyway already used in majority of the locking devices.

Key In Knob / Lever Cylinders:

Cores with ______ keyway by ______________________ and compatible with existing hardware.

EXECUTION:  Not Used

END  OF  SECTION

ATTACHMENTS

HARDWARE GROUP SCHEDULE for FINISH HARDWARE

Definitions:

Builders Hardware Manufacturer's Association (BHMA) Hardware Functions:

EDIT REQUIRED:  Delete the hardware functions not listed in the Hardware Groups included for this Project.

F-75 Passage Latch:  Latch bolt operated by knob / lever from either side at all times.

F-76 Privacy Lock:  Latch bolt operated by knob / lever from either side.  Outside knob / lever locked by push button inside and unlocked by emergency key from outside or rotating knob / lever from inside.

F-81 Office Door Lock:  Dead locking latch bolt operated by knob / lever from either side, except when outside knob / lever is locked by turn button in inside knob/lever.  When outside knob / lever is locked, latch bolt is operated by key in outside knob/lever or by rotating inside knob / lever.  Turn button must be manually rotated to unlock outside knob / lever.

F-84 Classroom Deadlock:  Dead locking latch bolt operated by knob / lever from either side, except when outside knob / lever is locked, latch bolt is operated by key in outside knob / lever or by rotating inside knob / lever.

F-86 Utility Space Door Lock:  Dead locking latch bolt operated by key in outside knob / lever or by rotating inside knob / lever.  Outside knob / lever is always fixed.

EDIT REQUIRED:  Include following paragraph for CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.  Classroom Door Hardware changed Function from F84 to F109 for CES Standalone Buildings and S&I Module add to existing Meetinghouse Building.

F109 Entrance Lock:  Turn/push button locking:  Pushing and turning button disengages outside lever, requiring using of key until button is manually unlocked.  Push-button locking:  Pushing button disengages outside lever until unlocked by key or by turning inside lever.  Disengages outside spindle from latch when locked.

F-91 Latch And Deadlocks:  Dead locking latch bolt operated by key from both sides.

E-2142 Deadbolt:  Dead bolt operated by key from either side.  Bolt automatically dead locks when fully thrown.

E-2152 Deadbolt:  Dead bolt operated by key from outside and turn button from inside.  Bolt automatically dead locks when fully thrown.

EDIT REQUIRED:  The following are the hardware groups that may be necessary if new hardware is required.

Enter hardware group numbers in column on door schedule or list the doors with appropriate group.  Delete groups not used.

Do not change the basic Hardware Group numbers.

Group 1:

1 each:  Passage Set Function F-75.

Group 2:

1 each:  Latchset Function F-76.

Group 3:

1 each:  Lockset Function F-81.

Group 4:

1 each:  Lockset Function F-84.

Group 5:

1 each:  Lockset Function F-86.

Group 6:

1 each:  Lockset Function F-91.

EDIT REQUIRED:  Include following paragraph for CES Standalone Buildings and S&I Module Building added to existing Meetinghouse Building.  Classroom Door Hardware changed Function from F84 to F109 for CES Standalone Buildings and S&I Module add to existing Meetinghouse Building.

Group 7:

1 each:  Lockset Function F-109.

Group 8:

1 each:  Lockset Function F-2142.

Group 9:

1 each:  Lockset Function F-2152.

Group 10:

1 each:  Standard Cylinder.

Group 11:

1 each:  Padlock.

Group 12:

1 each:  Locking core.

Group 13:

No hardware required.

Category Four Approved Products.  See Section 01 6200 for definitions of Categories:

6 Line Series by Sargent.

KEYING SCHEDULES

FINISH HARDWARE MASTERKEY SCHEDULE:

Provide two GreatGrandMasterkeys stamped GGMK.

Provide two GrandMasterkeys for each stake stamped A, B, C, etc.

Provide five Masterkeys for each building, stamped AA, AB, AC, AD, AE, BA, BB, BC, BD, BE, CA, CB, CC, CD, CE, etc.

STAKE ONE, STAKE CENTER FINISH HARDWARE KEYING SCHEDULE:

Stake Center Address: _______________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

EDIT REQUIRED:  Use the standard formats, scheduling systems, etc, in the Church Master Specification to specify and call out keying requirements.  The VMR Partners are available for consultation on developing keying systems within authorized Church guidelines and policies.  Numbers of keys assume four units in building, and a stake suite in the Stake Center.

List the door numbers of the doors each key is to operate or place the keying designations in a column on a Door Schedule in the Drawings.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XAA1	GEN		60			<Insert Doors Operated by Key>.

All AA keys (except AA36, AA37, and XAA50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices.

AA2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AA3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AA4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AA5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XAA6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XAA7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XAA8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XAA9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

AA10	AUX-1		2			<Insert Door>, and doors under paragraph A.

AA11	AUX-2		2			<Insert Door>, and doors under paragraph A.

AA12	AUX-3		2			<Insert Door>, and doors under paragraph A.

AA13	AUX-4		2			<Insert Door>, and doors under paragraph A.

AA14	AUX-5		2			<Insert Door>, and doors under paragraph A.

AA15	AUX-6		2			<Insert Door>, and doors under paragraph A.

AA16	AUX-7		2			<Insert Door>, and doors under paragraph A.

AA17	AUX-8		2			<Insert Door>, and doors under paragraph A.

AA18	AUX-9		2			<Insert Door>, and doors under paragraph A.

AA19	AUX-10		2			<Insert Door>, and doors under paragraph A.

AA20	AUX-11		2			<Insert Door>, and doors under paragraph A.

AA21	AUX-12		2			<Insert Door>, and doors under paragraph A.

AA22	AUX-13		2			<Insert Door>, and doors under paragraph A.

AA23	AUX-14		2			<Insert Door>, and doors under paragraph A.

AA24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XAA35 MTL CTR	10			<Insert Door>, and doors under paragraph A.

Keys to Bishop's and Stake President's Offices will also open Material Center and Video Storage

Mechanical And Utility Rooms:

AA36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

AA37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

AA38	ATC		2			<Insert Doors>

Stake President's Office:

AA40	STK PR	5			<Insert Doors>, and doors under paragraphs A, E, H, J, and K.

Remaining Stake Suite Doors excluding Exterior Door:

XAA41	STK		20			<Insert Doors>, and doors under paragraph A.

These doors are also opened by AA 40 and AA Master key,

Family History Center excluding Exterior Door:

XAA50 F H		5			<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE ONE, BUILDING TWO FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XAB1	GEN		60			<Insert Doors Operated by Key>.

All AA keys (except AB36, AB37, and XAB50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

AB2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AB3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AB4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AB5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XAB6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XAB7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XAB8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XAB9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

AB10	AUX-1		2			<Insert Door>, and doors under paragraph A.

AB11	AUX-2		2			<Insert Door>, and doors under paragraph A.

AB12	AUX-3		2			<Insert Door>, and doors under paragraph A.

AB13	AUX-4		2			<Insert Door>, and doors under paragraph A.

AB14	AUX-5		2			<Insert Door>, and doors under paragraph A.

AB15	AUX-6		2			<Insert Door>, and doors under paragraph A.

AB16	AUX-7		2			<Insert Door>, and doors under paragraph A.

AB17	AUX-8		2			<Insert Door>, and doors under paragraph A.

AB18	AUX-9		2			<Insert Door>, and doors under paragraph A.

AB19	AUX-10		2			<Insert Door>, and doors under paragraph A.

AB20	AUX-11		2			<Insert Door>, and doors under paragraph A.

AB21	AUX-12		2			<Insert Door>, and doors under paragraph A.

AB22	AUX-13		2			<Insert Door>, and doors under paragraph A.

AB23	AUX-14		2			<Insert Door>, and doors under paragraph A.

AB24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XAB35	 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

AB36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

AB37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

AB38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XAB50 F H		5			<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE ONE, BUILDING THREE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XAC1	GEN		60			<Insert Doors Operated by Key>.

All AC keys (except AC36, AC37, and XAC50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

AC2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AC3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AC4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AC5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XAC6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XAC7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XAC8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XAC9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

AC10	AUX-1		2			<Insert Door>, and doors under paragraph A.

AC11	AUX-2		2			<Insert Door>, and doors under paragraph A.

AC12	AUX-3		2			<Insert Door>, and doors under paragraph A.

AC13	AUX-4		2			<Insert Door>, and doors under paragraph A.

AC14	AUX-5		2			<Insert Door>, and doors under paragraph A.

AC15	AUX-6		2			<Insert Door>, and doors under paragraph A.

AC16	AUX-7		2			<Insert Door>, and doors under paragraph A.

AC17	AUX-8		2			<Insert Door>, and doors under paragraph A.

AC18	AUX-9		2			<Insert Door>, and doors under paragraph A.

AC19	AUX-10		2			<Insert Door>, and doors under paragraph A.

AC20	AUX-11		2			<Insert Door>, and doors under paragraph A.

AC21	AUX-12		2			<Insert Door>, and doors under paragraph A.

AC22	AUX-13		2			<Insert Door>, and doors under paragraph A.

AC23	AUX-14		2			<Insert Door>, and doors under paragraph A.

AC24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XAC35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

AC36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

AC37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

AC38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XAC50 F H		5			<Insert Doors>

Keys to Bishop's will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE ONE, BUILDING FOUR FINISH HARDWARE KEYING SCHEDULE

Building Address: _______________________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XAD1	GEN		60			<Insert Doors Operated by Key>.

All AD keys (except AD36, AD37, and XAD50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

AD2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AD3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AD4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AD5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XAD6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XAD7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XAD8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XAD9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

AD10	AUX-1		2			<Insert Door>, and doors under paragraph A.

AD11	AUX-2		2			<Insert Door>, and doors under paragraph A.

AD12	AUX-3		2			<Insert Door>, and doors under paragraph A.

AD13	AUX-4		2			<Insert Door>, and doors under paragraph A.

AD14	AUX-5		2			<Insert Door>, and doors under paragraph A.

AD15	AUX-6		2			<Insert Door>, and doors under paragraph A.

AD16	AUX-7		2			<Insert Door>, and doors under paragraph A.

AD17	AUX-8		2			<Insert Door>, and doors under paragraph A.

AD18	AUX-9		2			<Insert Door>, and doors under paragraph A.

AD19	AUX-10		2			<Insert Door>, and doors under paragraph A.

AD20	AUX-11		2			<Insert Door>, and doors under paragraph A.

AD21	AUX-12		2			<Insert Door>, and doors under paragraph A.

AD22	AUX-13		2			<Insert Door>, and doors under paragraph A.

AD23	AUX-14		2			<Insert Door>, and doors under paragraph A.

AD24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XAD35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

AD36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

AD37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

AD38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XAD50 F H		5		<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE ONE, BUILDING FIVE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Provide five AE masterkeys stamped AE.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XAE1	GEN		60			<Insert Doors Operated by Key>.

All AE keys (except AE36, AE37, and XAE50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

AE2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AE3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AE4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

AE5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XAE6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XAE7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XAE8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XAE9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

AE10	AUX-1		2			<Insert Door>, and doors under paragraph A.

AE11	AUX-2		2			<Insert Door>, and doors under paragraph A.

AE12	AUX-3		2			<Insert Door>, and doors under paragraph A.

AE13	AUX-4		2			<Insert Door>, and doors under paragraph A.

AE14	AUX-5		2			<Insert Door>, and doors under paragraph A.

AE15	AUX-6		2			<Insert Door>, and doors under paragraph A.

AE16	AUX-7		2			<Insert Door>, and doors under paragraph A.

AE17	AUX-8		2			<Insert Door>, and doors under paragraph A.

AE18	AUX-9		2			<Insert Door>, and doors under paragraph A.

AE19	AUX-10		2			<Insert Door>, and doors under paragraph A.

AE20	AUX-11		2			<Insert Door>, and doors under paragraph A.

AE21	AUX-12		2			<Insert Door>, and doors under paragraph A.

AE22	AUX-13		2			<Insert Door>, and doors under paragraph A.

AE23	AUX-14		2			<Insert Door>, and doors under paragraph A.

AE24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XAE35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

AE36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

AE37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

AE38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XAE50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE TWO, STAKE CENTER FINISH HARDWARE KEYING SCHEDULE

Stake Center Address: _______________________________________________________

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XBA1	GEN		60			<Insert Doors Operated by Key>.

All BA keys (except BA36, BA37, and XBA50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

BA2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BA3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BA4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BA5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XBA6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XBA7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XBA8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XBA9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

BA10	AUX-1		2			<Insert Door>, and doors under paragraph A.

BA11	AUX-2		2			<Insert Door>, and doors under paragraph A.

BA12	AUX-3		2			<Insert Door>, and doors under paragraph A.

BA13	AUX-4		2			<Insert Door>, and doors under paragraph A.

BA14	AUX-5		2			<Insert Door>, and doors under paragraph A.

BA15	AUX-6		2			<Insert Door>, and doors under paragraph A.

BA16	AUX-7		2			<Insert Door>, and doors under paragraph A.

BA17	AUX-8		2			<Insert Door>, and doors under paragraph A.

BA18	AUX-9		2			<Insert Door>, and doors under paragraph A.

BA19	AUX-10		2			<Insert Door>, and doors under paragraph A.

BA20	AUX-11		2			<Insert Door>, and doors under paragraph A.

BA21	AUX-12		2			<Insert Door>, and doors under paragraph A.

BA22	AUX-13		2			<Insert Door>, and doors under paragraph A.

BA23	AUX-14		2			<Insert Door>, and doors under paragraph A.

BA24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XBA35	 MTL CTR	10			<Insert Door>, and doors under paragraph A.

Keys to Bishop's and Stake President's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

BA36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

BA37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

BA38	ATC		2			<Insert Doors>

Stake President's Office:

BA40 STK PR		5			<Insert Doors>, and doors under paragraphs A, E, H, J, and K.

Remaining Stake Suite Doors excluding Exterior Door:

XBA41	 STK		20			<Insert Doors>, and doors under paragraph A.

These doors are also opened by AA 40 and AA Master key.

Family History Center excluding Extrior Door:

XBA50 F H		5			<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE TWO, BUILDING TWO FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XBB1	GEN		60			<Insert Doors Operated by Key>.

All BB keys (except BB36, BB37, and XBB50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

BB2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BB3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BB4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BB5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XBB6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XBB7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XBB8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XBB9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

BB10	AUX-1		2			<Insert Door>, and doors under paragraph A.

BB11	AUX-2		2			<Insert Door>, and doors under paragraph A.

BB12	AUX-3		2			<Insert Door>, and doors under paragraph A.

BB13	AUX-4		2			<Insert Door>, and doors under paragraph A.

BB14	AUX-5		2			<Insert Door>, and doors under paragraph A.

BB15	AUX-6		2			<Insert Door>, and doors under paragraph A.

BB16	AUX-7		2			<Insert Door>, and doors under paragraph A.

BB17	AUX-8		2			<Insert Door>, and doors under paragraph A.

BB18	AUX-9		2			<Insert Door>, and doors under paragraph A.

BB19	AUX-10		2			<Insert Door>, and doors under paragraph A.

BB20	AUX-11		2			<Insert Door>, and doors under paragraph A.

BB21	AUX-12		2			<Insert Door>, and doors under paragraph A.

BB22	AUX-13		2			<Insert Door>, and doors under paragraph A.

BB23	AUX-14		2			<Insert Door>, and doors under paragraph A.

BB24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XBB35	 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

BB36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

BB37	CUST		2

Room Housing ATC Panel:

BB38	ATC		2

Family History Center excluding Exterior Door:

XBB50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE TWO, BUILDING THREE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XBC1	GEN		60			<Insert Doors Operated by Key>.

All BC keys (except BC36, BC37, and XBC50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

BC2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BC3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BC4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BC5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XBC6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XBC7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XBC8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XBC9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

BC10	AUX-1		2			<Insert Door>, and doors under paragraph A.

BC11	AUX-2		2			<Insert Door>, and doors under paragraph A.

BC12	AUX-3		2			<Insert Door>, and doors under paragraph A.

BC13	AUX-4		2			<Insert Door>, and doors under paragraph A.

BC14	AUX-5		2			<Insert Door>, and doors under paragraph A.

BC15	AUX-6		2			<Insert Door>, and doors under paragraph A.

BC16	AUX-7		2			<Insert Door>, and doors under paragraph A.

BC17	AUX-8		2			<Insert Door>, and doors under paragraph A.

BC18	AUX-9		2			<Insert Door>, and doors under paragraph A.

BC19	AUX-10		2			<Insert Door>, and doors under paragraph A.

BC20	AUX-11		2			<Insert Door>, and doors under paragraph A.

BC21	AUX-12		2			<Insert Door>, and doors under paragraph A.

BC22	AUX-13		2			<Insert Door>, and doors under paragraph A.

BC23	AUX-14		2			<Insert Door>, and doors under paragraph A.

BC24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XBC35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

BC36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

BC37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

BC38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XBC50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE TWO, BUILDING FOUR FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XBD1	GEN		60			<Insert Doors Operated by Key>.

All BD keys (except BD36, BD37, and XBD50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

BD2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BD3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BD4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BD5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XBD6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XBD7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XBD8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XBD9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

BD10	AUX-1		2			<Insert Door>, and doors under paragraph A.

BD11	AUX-2		2			<Insert Door>, and doors under paragraph A.

BD12	AUX-3		2			<Insert Door>, and doors under paragraph A.

BD13	AUX-4		2			<Insert Door>, and doors under paragraph A.

BD14	AUX-5		2			<Insert Door>, and doors under paragraph A.

BD15	AUX-6		2			<Insert Door>, and doors under paragraph A.

BD16	AUX-7		2			<Insert Door>, and doors under paragraph A.

BD17	AUX-8		2			<Insert Door>, and doors under paragraph A.

BD18	AUX-9		2			<Insert Door>, and doors under paragraph A.

BD19	AUX-10		2			<Insert Door>, and doors under paragraph A.

BD20	AUX-11		2			<Insert Door>, and doors under paragraph A.

BD21	AUX-12		2			<Insert Door>, and doors under paragraph A.

BD22	AUX-13		2			<Insert Door>, and doors under paragraph A.

BD23	AUX-14		2			<Insert Door>, and doors under paragraph A.

BD24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XBD35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

BD36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

BD37	CUST		2

Room Housing ATC Panel:

BD38	ATC		2

Family History Center excluding Exterior Door:

XBD50 F H		5			<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE TWO, BUILDING FIVE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Provide five BE masterkeys stamped BE.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XBE1	GEN		60			<Insert Doors Operated by Key>.

All BE keys (except BE36, BE37, and XBE50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

BE2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BE3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BE4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

BE5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XBE6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XBE7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XBE8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XBE9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

BE10	AUX-1		2			<Insert Door>, and doors under paragraph A.

BE11	AUX-2		2			<Insert Door>, and doors under paragraph A.

BE12	AUX-3		2			<Insert Door>, and doors under paragraph A.

BE13	AUX-4		2			<Insert Door>, and doors under paragraph A.

BE14	AUX-5		2			<Insert Door>, and doors under paragraph A.

BE15	AUX-6		2			<Insert Door>, and doors under paragraph A.

BE16	AUX-7		2			<Insert Door>, and doors under paragraph A.

BE17	AUX-8		2			<Insert Door>, and doors under paragraph A.

BE18	AUX-9		2			<Insert Door>, and doors under paragraph A.

BE19	AUX-10		2			<Insert Door>, and doors under paragraph A.

BE20	AUX-11		2			<Insert Door>, and doors under paragraph A.

BE21	AUX-12		2			<Insert Door>, and doors under paragraph A.

BE22	AUX-13		2			<Insert Door>, and doors under paragraph A.

BE23	AUX-14		2			<Insert Door>, and doors under paragraph A.

BE24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XBE35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

BE36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

BE37	CUST		2

Room Housing ATC Panel:

BE38	ATC		2

Stake President's Office:

BE40	STK PR		5		<Insert Doors>, and doors under paragraphs A, E, H, J, and K.

Remaining Stake Suite Doors excluding Exterior Door:

XBE41	STK		20			<Insert Doors>, and doors under paragraph A.

These doors are also opened by AA 40 and AA Master key,.

Family History Center excluding Exterior Door:

XBE50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE THREE, STAKE CENTER FINISH HARDWARE KEYING SCHEDULE

Stake Center Address: _______________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

EDIT REQUIRED:  Use the standard formats, scheduling systems, etc, in the Church Master Specification to specify and call out keying requirements.  The VMR Partners are available for consultation on developing keying systems within authorized Church guidelines and policies.

List the door numbers of the doors each key is to operate or place the keying designations in a column on a Door Schedule in the Drawings.

Provide five CA masterkeys stamped CA.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XCA1	GEN		60			<Insert Doors Operated by Key>.

All CA keys (except CA36, CA37, and XCA50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

CA2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CA3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CA4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CA5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XCA6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XCA7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XCA8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XCA9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

CA10	AUX-1		2			<Insert Door>, and doors under paragraph A.

CA11	AUX-2		2			<Insert Door>, and doors under paragraph A.

CA12	AUX-3		2			<Insert Door>, and doors under paragraph A.

CA13	AUX-4		2			<Insert Door>, and doors under paragraph A.

CA14	AUX-5		2			<Insert Door>, and doors under paragraph A.

CA15	AUX-6		2			<Insert Door>, and doors under paragraph A.

CA16	AUX-7		2			<Insert Door>, and doors under paragraph A.

CA17	AUX-8		2			<Insert Door>, and doors under paragraph A.

CA18	AUX-9		2			<Insert Door>, and doors under paragraph A.

CA19	AUX-10		2			<Insert Door>, and doors under paragraph A.

CA20	AUX-11		2			<Insert Door>, and doors under paragraph A.

CA21	AUX-12		2			<Insert Door>, and doors under paragraph A.

CA22	AUX-13		2			<Insert Door>, and doors under paragraph A.

CA23	AUX-14		2			<Insert Door>, and doors under paragraph A.

CA24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XCA35 MTL CTR	10			<Insert Door>, and doors under paragraph A.

Keys to Bishop's and Stake President's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

CA36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

CA37	CUST		2

Room Housing ATC Panel:

CA38	ATC		2

Stake President's Office:

CA40	STK PR	5			<Insert Doors>, and doors under paragraphs A, E, H, J, and K.

Remaining Stake Suite Doors excluding Exterior Door:

XCA41 STK		20			<Insert Doors>, and doors under paragraph A.

These doors are also opened by AA 40 and AA Master key,.

Family History Center excluding Exterior Door:

XCA50 F H		5			<Insert Doors>

Keys to Bishop's and Stake President's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE THREE, BUILDING TWO FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XCB1	GEN		60			<Insert Doors Operated by Key>.

All CB keys (except CB36, CB37, and XCB50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

CB2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CB3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CB4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CB5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XCB6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XCB7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XCB8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XCB9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

CB10	AUX-1		2			<Insert Door>, and doors under paragraph A.

CB11	AUX-2		2			<Insert Door>, and doors under paragraph A.

CB12	AUX-3		2			<Insert Door>, and doors under paragraph A.

CB13	AUX-4		2			<Insert Door>, and doors under paragraph A.

CB14	AUX-5		2			<Insert Door>, and doors under paragraph A.

CB15	AUX-6		2			<Insert Door>, and doors under paragraph A.

CB16	AUX-7		2			<Insert Door>, and doors under paragraph A.

CB17	AUX-8		2			<Insert Door>, and doors under paragraph A.

CB18	AUX-9		2			<Insert Door>, and doors under paragraph A.

CB19	AUX-10		2			<Insert Door>, and doors under paragraph A.

CB20	AUX-11		2			<Insert Door>, and doors under paragraph A.

CB21	AUX-12		2			<Insert Door>, and doors under paragraph A.

CB22	AUX-13		2			<Insert Door>, and doors under paragraph A.

CB23	AUX-14		2			<Insert Door>, and doors under paragraph A.

CB24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XCB35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

CB36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

CB37	CUST		2

Room Housing ATC Panel:

CB38	ATC		2

Family History Center excluding Exterior Door:

XCB50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE THREE, BUILDING THREE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XCC1	GEN		60				<Insert Doors Operated by Key>.

All BC keys (except CC36, CC37, and XCC50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

CC2	BP-1		5				<Insert Doors>, and doors under paragraphs A, E, H, and J.

CC3	BP-2		5				<Insert Doors>, and doors under paragraphs A, E, H, and J.

CC4	BP-3		5				<Insert Doors>, and doors under paragraphs A, E, H, and J.

CC5	BP-4		5				<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XCC6	CLK-1		3				<Insert Door>, and doors under paragraph A.

XCC7	CLK-2		3				<Insert Door>, and doors under paragraph A.

XCC8	CLK-3		3				<Insert Door>, and doors under paragraph A.

XCC9	CLK-4		3				<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

CC10	AUX-1		2				<Insert Door>, and doors under paragraph A.

CC11	AUX-2		2				<Insert Door>, and doors under paragraph A.

CC12	AUX-3		2				<Insert Door>, and doors under paragraph A.

CC13	AUX-4		2				<Insert Door>, and doors under paragraph A.

CC14	AUX-5		2				<Insert Door>, and doors under paragraph A.

CC15	AUX-6		2				<Insert Door>, and doors under paragraph A.

CC16	AUX-7		2				<Insert Door>, and doors under paragraph A.

CC17	AUX-8		2				<Insert Door>, and doors under paragraph A.

CC18	AUX-9		2				<Insert Door>, and doors under paragraph A.

CC19	AUX-10		2				<Insert Door>, and doors under paragraph A.

CC20	AUX-11		2				<Insert Door>, and doors under paragraph A.

CC21	AUX-12		2				<Insert Door>, and doors under paragraph A.

CC22	AUX-13		2				<Insert Door>, and doors under paragraph A.

CC23	AUX-14		2				<Insert Door>, and doors under paragraph A.

CC24	AUX-15		2				<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XCC35	MTL CTR	8				<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

CC36	MECH		2				<Insert Doors>

Custodial Storage Spaces And Mesh Door:

CC37	CUST		2				<Insert Doors>

Room Housing ATC Panel:

CC38	ATC		2				<Insert Doors>

Family History Center excluding Exterior Door:

XCC50 F H		5				<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE THREE, BUILDING FOUR FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XCD1	GEN		60			<Insert Doors Operated by Key>.

All BD keys (except CD36, CD37, and XCD50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

CD2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CD3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CD4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CD5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XCD6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XCD7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XCD8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XCD9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

CD10	AUX-1		2			<Insert Door>, and doors under paragraph A.

CD11	AUX-2		2			<Insert Door>, and doors under paragraph A.

CD12	AUX-3		2			<Insert Door>, and doors under paragraph A.

CD13	AUX-4		2			<Insert Door>, and doors under paragraph A.

CD14	AUX-5		2			<Insert Door>, and doors under paragraph A.

CD15	AUX-6		2			<Insert Door>, and doors under paragraph A.

CD16	AUX-7		2			<Insert Door>, and doors under paragraph A.

CD17	AUX-8		2			<Insert Door>, and doors under paragraph A.

CD18	AUX-9		2			<Insert Door>, and doors under paragraph A.

CD19	AUX-10		2			<Insert Door>, and doors under paragraph A.

CD20	AUX-11		2			<Insert Door>, and doors under paragraph A.

CD21	AUX-12		2			<Insert Door>, and doors under paragraph A.

CD22	AUX-13		2			<Insert Door>, and doors under paragraph A.

CD23	AUX-14		2			<Insert Door>, and doors under paragraph A.

CD24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XCD35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

CD36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

CD37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

CD38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XCD50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

STAKE THREE, BUILDING FIVE FINISH HARDWARE KEYING SCHEDULE

Building Address: ___________________________________________________________.

Existing Hardware Manufacturer: _______________________________________________.

Serving Area, Cultural Center, Chapel, general access Storage Rooms, locking folding partitions, general access Custodian Room, and Font and Dressing Area:

Key		Stamped		No. of Keys	Doors Operated by Key

XCE1	GEN		60			<Insert Doors Operated by Key>.

All CE keys (except CE36, CE37, and XCE50) will open these doors.

EDIT REQUIRED:  Delete the reference in following paragraph to doors between Offices if there are none.

Bishop's Offices and Doors Between Bishop's And Clerk's Offices:

CE2	BP-1		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CE3	BP-2		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CE4	BP-3		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

CE5	BP-4		5			<Insert Doors>, and doors under paragraphs A, E, H, and J.

Clerk's Offices:

XCE6	CLK-1		3			<Insert Door>, and doors under paragraph A.

XCE7	CLK-2		3			<Insert Door>, and doors under paragraph A.

XCE8	CLK-3		3			<Insert Door>, and doors under paragraph A.

XCE9	CLK-4		3			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Office will also open Clerk's Office, Bishop-1 to Clerk-1, etc.

Auxiliary Organization Storage Spaces:

CE10	AUX-1		2			<Insert Door>, and doors under paragraph A.

CE11	AUX-2		2			<Insert Door>, and doors under paragraph A.

CE12	AUX-3		2			<Insert Door>, and doors under paragraph A.

CE13	AUX-4		2			<Insert Door>, and doors under paragraph A.

CE14	AUX-5		2			<Insert Door>, and doors under paragraph A.

CE15	AUX-6		2			<Insert Door>, and doors under paragraph A.

CE16	AUX-7		2			<Insert Door>, and doors under paragraph A.

CE17	AUX-8		2			<Insert Door>, and doors under paragraph A.

CE18	AUX-9		2			<Insert Door>, and doors under paragraph A.

CE19	AUX-10		2			<Insert Door>, and doors under paragraph A.

CE20	AUX-11		2			<Insert Door>, and doors under paragraph A.

CE21	AUX-12		2			<Insert Door>, and doors under paragraph A.

CE22	AUX-13		2			<Insert Door>, and doors under paragraph A.

CE23	AUX-14		2			<Insert Door>, and doors under paragraph A.

CE24	AUX-15		2			<Insert Door>, and doors under paragraph A.

Material Center And Video Storage:

XCE35 MTL CTR	8			<Insert Door>, and doors under paragraph A.

Keys to Bishop's Offices will also open Material Center and Video Storage.

Mechanical And Utility Rooms:

CE36	MECH		2			<Insert Doors>

Custodial Storage Spaces And Mesh Door:

CE37	CUST		2			<Insert Doors>

Room Housing ATC Panel:

CE38	ATC		2			<Insert Doors>

Family History Center excluding Exterior Door:

XCE50 F H		5			<Insert Doors>

Keys to Bishop's Offices will open Family History Center.

EDIT REQUIRED:  Delete following paragraph if no post indicator valve on exterior fire protection system.  List any other padlocks necessary.

Padlock for Post Indicator Valve:

Key so keys to all Bishop's Offices open padlock.

END  OF  SECTION